### IP Lab Rounding Checklist

Purpose:
Support safe laboratory practices by rounding with lab partners, identifying risks, and closing the loop on improvement.

#### 1. Partnership and Communication

- Round with a lab leader or safety officer whenever possible.

- Start by asking, “Any recent safety concerns or near misses you want to share?”

- Clarify who will follow up on any issues you identify and how you will report back.

#### 2. Hand Hygiene and Sinks

- Hand hygiene dispensers are present at lab entrances, exits, and near work areas.

- Sinks for hand washing are accessible, clean, and not used for storage or waste.

- No boxes, chemicals, or personal items stored under sinks.

- Staff clean hands after glove removal and before leaving the lab.

#### 3. PPE, Eye Protection, and Eyewash

- Lab coats or gowns are worn during specimen handling and bench work.

- Gloves are available in appropriate sizes and used correctly.

- Eye and face protection is available where splashes or aerosols can occur.

- Eyewash stations are:

  - Clearly labeled and free of obstruction.

  - Tested and documented according to policy.

#### 4. Cleanliness and Surfaces

- Benches and work surfaces are visibly clean and free of dried spills.

- Appropriate disinfectants are available and in date.

- Cleaning responsibilities are clear between lab staff and environmental services.

- No food, drink, or personal items in laboratory work areas.

#### 5. Space, Clutter, and Storage

- Aisles, exits, and electrical panels are clear and not blocked.

- Supplies and reagents stored off the floor on shelves or racks.

- Clean supplies stored in covered or enclosed areas where possible.

- Expired reagents or supplies are removed and disposed of.

#### 6. Sharps and Waste

- Sharps containers are secure, within reach, and not over the fill line.

- Red bags and biohazard containers are labeled and not overfilled.

- No sharps in regular trash.

- Staff know the policy for managing spills and broken glass.

#### 7. Cold Storage: Refrigerators and Freezers

- Temperatures are monitored and documented per policy.

- Contents are labeled, dated, and stored in an organized way.

- No personal food or beverages in any lab refrigerator or freezer.

- Vaccines or medications, if present, follow storage policy and are separated from specimens as required.

#### 8. Safety Signage, Access, and Biosafety

- Biohazard and safety signs posted at lab entrances and high risk areas.

- Access to the lab is controlled and limited to authorized personnel.

- Biosafety cabinets are certified on schedule and used for aerosol generating tasks.

- Staff can describe what biosafety level they work under and any special rules that apply.

#### 9. Close the Loop

- Review findings with the lab leader before leaving the area.

- Agree on:

  - What will be fixed.

  - Who owns each task.

  - When you will recheck.

- Share improvements at future safety or quality meetings.